SELF CLOSING MIXER TAP

Basin-mounted single control mixer tap. Automatic time delayed shut-off, self cleaning mechanism,

internal parts made of anti-corrosion and anti-scaling materials,

with “S” security system to prevent continuous flow.

Chrome plated brass knob with flexible hoses and straight stop valve.