SELF CLOSING MIXER TAP

Basin-mounted single control mixer tap with automatic time delayed shut-off

Inlet 3/8 ''

Flow rate 1.9L/mn at 417 kPa

Flow duration of 15 sec

self cleaning mechanism,

internal parts made of anti-corrosion and anti-scaling materials,

with “S” security system to prevent continuous flow.

Chrome plated brass knob with flexible hoses and straight stop valve.