Complete kit for cross partition self closing tap with short spout.

For partitionfrom 200 to 300 mm

Self cleaning mechanism with synthetic ruby

non-rotating button

Check valve

S® antiblocking device to avoid continuous flow

Preset flowrate of 6 l / min (internally adjustable)

Inlets 1/2 "