COMPLETE KIT FOR CROSS PARTITION URINAL

For partition from 200 to 300 mm

Self cleaning mechanism with synthetic ruby

non-rotating button

S® antiblocking device to avoid continuous flow

Preset flowrate of 6 l / min (internally adjustable)

Inlets 1/2 "