TIME FLOW TAP

Wall mounted push button tap for cold water, with automatic time delayed shut off 15 sec +/- 5 sec

Inlet 1/2 ''

Flow rate 1.9L/mn at 417 kPa

self –cleaning mechanism

internal components in anti corrosion and anti-liming materials

vandal proof flow control

with blue dot