TIME FLOW TAP

Inlet 1/2 ''

Flow rate 6L/mn at 417 kPa

Flow duration of 7 sec

self cleaning mechanism,

internal components in anti-corrosion and anti-liming materials,

easy adjustment of the flow time,

anti-rotating push-button.

“S” security system to prevent continuous flow.