605 S - 64632

Single deck-mounted self-closing tap, hot water

Inlet 1/2 ''

Flow rate 6L/mn at 417 kPa

Flow duration of 15 sec

self cleaning mechanism,

Internal components in anti-corrosion and anti-liming materials,

Easy adjustment of the flow time,

Anti-rotation push-button.

“S” security system to prevent continuous flow.