PRESTO 705 – 64652

Single deck mounted self-closing tap with multi-directional lever, hot or cold water.

Equipped against corrosion and lime scale with a self-cleaning needle and ruby mechanism. Preset at 3L/min (flow rate could be changed by internal device only). Type PRESTO 705 ref 64652 or technically equivalent.

NF certified product with 10-year warranty – ISO 90001 manufacturer