605 –64944

Single deck mounted self-closing tap with anti-rotation button, cold water.

Type PRESTO 605 ref 64944 or technically equivalent.

Equipped against corrosion and lime scale with a self-cleaning needle and ruby mechanism. Preset at 3L/min (flow rate could be change by internal device). Flow time of 7seconds.

NF certified product with 10-year warranty – ISO 90001 manufacturer