PRESTO NEO® S®  – 65305

Single deck-mounted self-closing tap, stainless steel body, 1/2", hot water. As Presto NEO® S® antiblocking system ref. 65305 or technically equivalent. Equipped against corrosion and lime scale with a self-cleaning needle and ruby mechanism, preset at 3 l/mn (inner adjustment). 7 sec timed-flow. Anti-rotation push button with laser marking. With S® antiblocking system to prevent blocking in continuous flow

Or

Single deck-mounted self-closing tap, stainless steel body, 1/2", hot water. As Presto NEO® S® antiblocking system ref. 65305 or technically equivalent. Including:

- Self-cleaning needle and ruby mechanism

- Preset at 3 l/mn (inner adjustment)

- Anti-rotation push button with laser marking.

- 7 sec. timed-flow

- With S® antiblocking system to prevent blocking in continuous flow

.