PRESTO NEO®  – 66100

Single wall-mounted self-closing tap, 1/2", hot water, 65mm projection. As Presto NEO® ref. 66100 or technically equivalent. Equipped against corrosion and lime scale with a self-cleaning needle and ruby mechanism, preset at 3 l/mn (inner adjustment). 15 sec timed-flow. Anti-rotation push button with laser marking. NF compliant.

Or

Single wall-mounted self-closing tap, 1/2", hot water, 65mm projection. As Presto NEO® ref. 66100 or technically equivalent. NF compliant. Including:

- Self-cleaning needle and ruby mechanism

- Preset at 3 l/mn (inner adjustment)

- Anti-rotation push button with laser marking.

- 15 sec. timed-flow

.