PRESTO NEO® S® – 66300

Single wall-mounted self-closing tap, 1/2", hot water, 65mm projection. As Presto NEO® S® antiblocking system ref. 66300 or technically equivalent. Equipped against corrosion and lime scale with a self-cleaning needle and ruby mechanism, preset at 3 l/mn (inner adjustment). 15 sec timed-flow. Anti-rotation push button with laser marking. With S® antiblocking system to prevent blocking in continuous flow

Or

Single wall-mounted self-closing tap, 1/2", hot water, 65mm projection. As Presto NEO® S® antiblocking system ref. 66300 or technically equivalent. Including:

- Self-cleaning needle and ruby mechanism

- Preset at 3 l/mn (inner adjustment)

- Anti-rotation push button with laser marking.

- 15 sec. timed-flow

- With S® antiblocking system to prevent blocking in continuous flow

.