PRESTO NEO – 68400

Deck-mounted mixer self-closing tap with lateral mixer lever.  As Presto NEO® ref. 68400 or technically equivalent.

Equipped against corrosion and lime scale with a self-cleaning needle and ruby mechanism, preset at 3 l/mn (inner adjustment). 15 sec timed-flow. Anti-rotation push button with laser marking. With temperature limiter, PEX hoses, straight stop valves and filters.

Or

Deck-mounted mixer self-closing tap with lateral mixer lever.  As Presto NEO® ref. 68400 or technically equivalent. Including :

- Self-cleaning needle and ruby mechanism

- Preset at 3 l/mn (inner adjustment)

- Lateral mixer lever

- Anti-rotation push button with laser marking.

- 15 sec. timed-flow

- Temperature limiter

- PEX hoses, straight stop valves and filters